Minimum WASH Standards in Schools (based on WHO)

| Water quality |  | Yes | No |
| --- | --- | --- | --- |
|  | Bacteriological water analyse were done for water point and 0 Ecoli/100-ml were found |  |  |
|  | Drinking-water from unprotected sources is treated (chore, filter…) to ensure microbiological safety. |  |  |
|  | Water meets WHO Guidelines for chemical parameters. |  |  |
|  | There are no tastes, odours or colours that would discourage consumption of the water. |  |  |
| Water quantity |  |  |  |
|  | Basic quantities of water required. |  |  |
|  | Day schools: 5 litres per person per day for all schoolchildren and staff |  |  |
|  | Boarding schools: 20 litres per person per day for all residential schoolchildren and staff |  |  |
|  | Additional quantities of water required. |  |  |
|  | Flushing toilets: 10–20 litres per person per day for conventional flushing toilets |  |  |
|  | Pour-flush toilets: 1.5–3.0 litres per person per day |  |  |
|  | Anal washing: 1–2 litres per person per day |  |  |
| Water facilities and access to water |  |  |  |
|  | Reliable water point with soap available at all the critical points of the school (toilets and kitchens…) |  |  |
|  | Reliable drinking-water point accessible for staff & schoolchildren, including those with disabilities, at all times. |  |  |
| Boarding school | 1 shower available for 20 users (schoolchildren + residential staff) |  |  |
|  | Separate showers or times are designated for boys and girls. |  |  |
|  | Separate showers or times are designated for staff and schoolchildren |  |  |
|  | At least 1 shower accessible for females with disabilities and one for males with disabilities. |  |  |
|  | Laundry facilities, with soap or detergent and hot water or chlorine solution (or both) provided |  |  |
| Hygiene promotion |  |  |  |
|  | Hygiene education is included in the school curriculum. |  |  |
|  | Positive hygiene behaviours, including correct use and maintenance of facilities, are systematically promoted |  |  |
|  | Hygiene promotion posters are hanged in the school at critical places (classroom, toilets…) |  |  |
| Toilets |  |  |  |
|  | 1 toilets / 25 girls and 1 for female staff; |  |  |
|  | 1 toilet + one urinal (or 50 cm of urinal wall) / 50 boys, and one for male staff. Or 1 toilet for 25 boys if no urinal |  |  |
|  | Toilets are easily accessible to all, including staff and children with disabilities |  |  |
|  | Toilets are no more than 30 m from all users. |  |  |
|  | Male and female toilets are completely separated. |  |  |
|  | Toilets provide privacy and security. |  |  |
|  | Toilets have convenient handwashing facilities close by. |  |  |
|  | Cleaning & maintenance routine is in operation, ensuring clean and functioning toilets available at all times. |  |  |
|  | Toilets are: |  |  |
|  | appropriate to local cultural and social conditions |  |  |
|  | accessible for children with disabilities |  |  |
|  | age and gender appropriate |  |  |
| Control of vector-borne disease |  |  |  |
|  | The density of vectors (flies, mosquitoes…) in the school is minimized (mosquito nets…). |  |  |
|  | Children or staff with communicable disease (ex malaria) identified & prevented from coming to school |  |  |
|  | Regular inspections carried out to detect and treat body lice and fleas. |  |  |
| Cleaning and waste disposal |  |  |  |
|  | Classrooms and other teaching areas are regularly cleaned, to minimize dust and moulds. |  |  |
|  | Outside and inside areas are maintained free of sharp objects and other physical hazards. |  |  |
|  | Solid waste is collected from classrooms, kitchens and offices daily and is disposed of safely. |  |  |
|  | Wastewater is disposed of quickly and safely. |  |  |
| Food storage and preparation |  |  |  |
| school with kichen | Food is handled and prepared with utmost cleanliness (hand are washed before preparing food). |  |  |
|  | Contact between raw foodstuffs and cooked food is avoided. |  |  |
|  | Food is cooked thoroughly (70°C) |  |  |
|  | Food is kept at safe temperatures (should not be left at room temperature for more than 2 hours, |  |  |
|  | Food is kept covered to protect it from flies and dust |  |  |
|  | Safe water and safe raw ingredients are used (Fruits and vegetables should be washed with safe water. |  |  |